**Name of Work repair / renovation of Karachi Police Office**

**(Rough Cost Estimated)**

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **S.NO** | **DESCRIPTON** | **QTY** | **RATE** | **UNIT** | **AMOUNT** |
| 01 | Dismantling of Reception | 01 | 12000 | Each | 12000 |
| 02 | Excavation in foundation of building bridges & other structure including deg-belling dressing refilling around structure with excavated earth watering & ramming lead upto 5 ft (IN ORDINARY SOIL) | 750 | 20 | P.CFT | 15000 |
| 03 | Cement concrete brick or stone ballast 1 1/2 to 2” gauge ratio 1:4: 8 | 350 | 110 | P.CFT | 38500 |
| 04 | Reinforced cement concrete work including all labor & material except the cost of steel reinforcement and its labor for bending & binding which will be paid separately. This rate also includes all kinds of forms moulds lifting shuttering curing rendering & finishing the exposed surface (including screening and washing of shingle) (a) R.C Work in roof slab, beams columns rafts, lintels & other structural members laid in situ or precast laid in position complete in all respects. (ii) Ratio 1:1/2:3 | 2125 | 550 | P.CFT | 1168750 |
| 05 | Fabrication of mild steel reinforcement for cement concrete including cutting, bending, laying in position, making joints and fastening including cost of binding wire (also includes removal of rust) ( using tor bars.) | 25 | 6200 | P.CWT | 155333 |
| 06 | P/L 1:3:6 cement concrete solid block masonary set in 1:6 cement sand mortar in plinth & foundations including raking out joints and curing etc complete Foundation. | 950 CFT | 110 | P.CFT | 104500 |
| 07 | Cement Plaster 1:6 upto 20 “ height | 2500 | 26 | P.Sft | 65000 |
| 08 | P/L porcelain tiles 18”x18” 1/4 on floor facing in required color & pattern of jointed in white cement and pigment over a base of 1:2 grey cement mortar 3/4 thick including washing & filling of joints with slurry of white cement and pigment in de. | 50 | 350 | P.Sft | 175000 |
| 09 | CC toping over roof and chemical treatment 2” thick | 250 | 55 | S.FT | 13750 |
| 10 | Scraping the old distemper preparing the surface & supplying two cost of distemper of specified make & color as directed by Engineer in-charge | 5212 | 15 | P.Sft | 78180 |
| 11 | Providing and fixing R.C.C. barricade size 4’x 8 think 1 foot finishing and quarrying and cartage | 40 | 15500 | Each | 620000 |
| 12 | Providing and fixing heavy duty GI Angle Iron Doors | 63 | 1120 | SFT | 70560 |
| 13 | Providing and fixing GI PIPE 3’ dia Iron Barrier | 2 | 120000 | Each | 240000 |
| 14 | Providing & fixing Girll ½ “Square bar Open side including Coloring and painting. | 300 | 550 | P.SFT | 165000 |
| 15 | Supplying and fixing Energy Savers | 29 | 350 | Each | 10150 |
| 16 | Providing & fixing panel board shutter to accommodate having duty circuit breaker bus bars including painting with enameled paint & for other similar jobs on surface | 3 | 1150 | P.Sft | 3450 |
| 17 | Providing circuit breaker 6 amps to 36 amps D.P. | 3 | 11,00 | Each | 3300 |
| 18 | Providing and laying wiring main with 2-7/. 044 PVC China patti | 300 | 120 | P.Rft | 36000 |
| 19 | Wiring for light of fan point with 1/1 12(31029) PVC insulated wire in 200 mm including channel patti fancy piano type switch 15 AMP China make including holder, complete | 30 | 850 | Each | 25500 |
|  | Grant Total |  |  |  | 2999973 |

**Sub- Engineer**

*OFFICE OF THE*



*ADDL. INSPECTOR GENERAL OF POLICE,*

*KARACHI RANGE*

*No. AB/A-II / / Karachi.*

*Dated: - -2016*

*ORDER.*

*The Addl.IGP/Karachi is hereby approved* ***“Procurement Committee’s”*** *mentioned below for completion Tender Procuring Award of work & all necessary formalities as per SPPRA Rule-2010 on account of repair/renovation work of KPO Building, Karachi.*

***TENDER PROCURMENT COMMITTEE.***

*Mr. Fida Hussain Janwari,* ***Chairman***

*SSP/City South Zone Karachi*

1. *Mr. Hassan Khan Marwat Member*

*DSP/Clothing, HQ Garden, Karachi*

1. *Mr. Anwar Ali Sommro Member*

*DSP/M.T. Karachi (KPO)*

***INSPECTION REDRESSAL OF GRIVEVANCEES***

***AND SETTLEMENT OF DISPUTES COMMITTEE.***

*Mr. Ghulam Shabbir Memon,* ***Chairman***

*ADIGP/Legal, Karachi (KPO)*

1. *Mr. Kunwar Asif Sarfraz, Member*

*DSP/Saddar, Karachi*

1. *Mr. Sohail Shah Member*

*DSP/PCA Karachi (KPO)*

***Sd/-***

*(MUSHTAQ AHMED MAHAR)SI, PPM,PSP*

*Addl. Inspector General of Police,*

*Karachi Range*

*1. Copy to the ADIGP / Legal, Karachi Range for information.*

*2. Copy to the SSP / City South Zone, Karachi for information.*

*3. Copy to the DSP / Saddar, South Zone Karachi for information.*

*4. Copy to the DSP / Clothing HQ Garden Karachi for information*

*5. Copy to the DSP / M.T. Karchi (KPO) for information*

*6. Copy to the DSP / PCA Karchi (KPO) for information*

*7 The Manager (CB) Govt. of Sindh (SPPRA) Barrack No.8 Sindh Secretariat No.4 Court Road Karachi for information.*

*8. The Audit Officer-I CPO Sindh Karachi*

***( SYED AFZAL HUSSAIN )***

*DSP / Welfare*

*For. Addl. Inspector General of Police,*

*Karachi Range*